## Slide 1: BLUETTI Premium 200 V2
Bi-directional Inverter (No Adapter Required)
√
√
√
Bypass Charging
MPPT
UPS
15ms
General
Specification
App Control
WiFi & Bluetooth
Charger 1 Alternator Charger
Accessory
16dB - 50dB
Noise Level
32°F - 104°F (0°C - 40°C)
Charging Temperature
-4−104℉ (-20−40℃)
Operating & Storage Temperature
Below 2,000 m / 6561 ft
Working Altitude
53.4 lbs / 24.2 kg
Weight
13.78 x 9.84 x 12.74 in(350 × 250 × 323.6 mm)
Dimensions (L x W x D)
5 Years
Warranty
Capacity
2,073.6Wh (Non Expandable)
Battery Type
Automotive-Grade LFP
Life Cycles
6,000+ charge/discharge cycles to 80% capacity
Management System:
MPPT Controller, BMS, etc.
Battery
1 DC Power Button
2 LCD Display
3 Power Button
4 AC Power Button
5 AC Outlet
6 Grounding Terminal*
7 AC Input
8 Circuit Breaker
9 USB-A Ports
10 USB-C Ports
11 Cigarette Lighter Port
12 DC input
(Car Outlet)
1 2 3 4
5
6 7 8
11
10
9
12
12.74in / (323.6mm)
13.78in / (350mm)
9.84in / (250mm)

## Slide 2: BLUETTI Premium 200 V2
Output
Voltage | JP - 100V | US - 120V | EU/UK/AU - 230V
Total Outlets | 9 | 9 | 7
AC Outlets | 4 * 100V/22A, 2,200W Max. | 4 * 120V/22.5A, 2,700W Max. | 2 * 230V/11.7A, 2,700W Max.
Inverter Type
DC Outlets
Lifting Power
4,050W
Pure Sine Wave
2 * USB-A
2 * USB-C(100W)
1 * Cigarette Lighter Port
3,300W
4,050W
Inputs
Voltage | JP - 100V | US - 120V | EU/UK/AU - 230V
AC Input | 1,500W Max. | 1,800W Max. | 2,300W Max.
Solar Input |  |  | 1,000W Max.
AC Charging Time
1.25H to 80%
1.7H to 100%
1H to 80%
1.4H to 100%
1H to 80%
1.5H to 100%
Solar Charging time
2.4H to 100%
Charging Options
AC / PV / Car / Generator / Lead-acid Battery

## Slide 3: Choose Your Solutions
1
Solar Package
Premium 200 V2
350W BLUETTI FOLDABLE SOLAR PANEL
2
Solar Package
Premium 200 V2
2 x 350W BLUETTI FOLDABLE SOLAR PANEL
(Total 700W Solar Input Connect In Parallel)
3
Solar Package
Premium 200 V2
4 x 200W BLUETTI FOLDABLE SOLAR PANEL
(Total 800W Solar Input Connect In Parallel)